## Outage_Schedule
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legends
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2024-03-28 13:50 | Please note all Planned Outages in Green indicates new work
Transmission Planned Outage Schedule | [11 empty] | Please note all Planned Outages in Red indicates there was changes from the previous work schedule
MW (Summer/Winter)
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
L-6516 | L6516 Outage (2C-22C) | 2024-03-12 07:00 | 2024-05-17 17:00 | Maintenance | [6 empty] | Generation Restrictions Apply
LIL Monopole Outage | LIL Monopole Outage | 2024-04-01 05:00 | 2024-04-03 13:00 | Maintenance | [7 empty] | NL to NS Import <=250MW
LIL Monopole Outage | LIL Monopole Outage | 2024-04-03 13:00 | 2024-04-05 19:00 | Maintenance | [7 empty] | NL to NS Import <=250MW
PT2 | PT2 | 2024-03-27 | 2024-04-01 | Economics | [7 empty] | Reduce CBX Corridor Limit by 50MW Reduce Mainland at Hastings Corridor Limit by 50MW
TR5/TR6 | TR5/TR6 | 2024-03-28 | 2024-03-31 | Economics | [7 empty] | Reduce CBX Corridor Limit by 200MW Reduce Mainland at Hastings Corridor Limit by 100MW
L-6001 | L-6001 | 2024-04-03 | 2024-04-18 | Maintenance
67N-T82 | 67N-T82 | 2024-04-04 | 2024-04-04 | Maintenance
LIL Bipole Outage | LIL Bipole Outage | 2024-04-30 | 2024-05-03 | Maintenance