## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legends
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2024-05-16 14:41 | Please note all Planned Outages in Green indicates new work
Transmission Planned Outage Schedule | [11 empty] | Please note all Planned Outages in Red indicates there was changes from the previous work schedule
MW (Summer/Winter)
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
TR5 | TR5 | 2024-03-28 | 2024-09-30 | Maintenance | [7 empty] | Reduce CBX Corridor Limit by 200MW Reduce Mainland at Hastings Corridor Limit by 100MW
NB STOP 24-013 - Lepreau OOS | NB STOP 24-013 - Lepreau OOS | 2024-04-06 | 2024-06-24 | NB STOP | [7 empty] | NB to NS +PEI <=350 - 400MW | NB Load dependent limit
L-6516 | 22C-603 | 2024-04-28 03:00 | 2024-05-18 16:00 | Maintenance | [6 empty] | Generation Restrictions Apply
L-6516 | L6516 (22C-59C) | 2024-04-29 07:00 | 2024-05-18 17:00 | Maintenance | [6 empty] | Generation Restrictions Apply
LIL Bipole Outage | LIL Bipole Outage | 2024-05-21 | 2024-05-30 | Maintenance
L-6012 | L6012 Outage | 2024-05-20 07:00 | 2024-05-23 17:00 | Maintenance
NB STOP 24-028 L390/3016 OOS | NB STOP 24-028 l390/3016 OOS | 2024-05-23 | 2024-06-02 | NB STOP | [7 empty] | NB to NS + PEI limited to 300MW