## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2025-12-04 13:00 | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
NB STOP | NB STOP | 12/3/2025 | TBD | [8 empty] | #VALUE!
L-7022 | L-7022 | 12/4/2025 | 12/4/2025 | Maintenance | [6 empty] | - LG Unit Gross Output limited to 160 MW - LG Total Gross Output limited to 645 MW
L-7022 | L-7022 | 12/8/2025 | 12/18/2025 | Maintenance | [6 empty] | - LG Unit Gross Output limited to 160 MW - LG Total Gross Output limited to 645 MW
L-7001 | L-7001 | 12/8/2025 | 12/11/2025 | Maintenance | [7 empty] | Onslow South is restricted to 830 MW