## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2026-05-21 15:00 | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
91H-T11 | 91H-T11 | 3/24/2026 | 6/11/2026 | [7 empty] | TC2 must run at Basic System Loads >1500 MW
67N-T82 | 67N-T82 | 4/14/2026 0830 | 5/29/2026 1400 | [8 empty] | ONS limited to 830MW, ONI limited to 960MW,
L-7003 | L-7003 | 5/11/2026 1000 | 6/02/2026 1600 | [8 empty] | CBX limited to 960 MW ONI limited to 1105 MW
NB STOP 001 | NB STOP 001 | 5/18/2026 | 5/29/2026 | [8 empty] | #VALUE!
NB STOP 002 | NB STOP 002 | 5/25/2026 0800 | 5/25/2026 1200 | [8 empty] | NS+PEI restriction of 300 MW May 25th 0800- 1200
L-7011 | L-7011 | 5/25/2026 0730 | 5/25/2026 1600 | [8 empty] | CBX limited to 870 MW
50W-B4 | 50W-B4 | 5/25/2026 0700 | 5/28/2026 1600 | [7 empty] | TK4 available for synch/generation
LIL BIPOLE OUTAGE | LIL BIPOLE OUTAGE | 6/21/2026 | 6/25/2026
ML POLE 1 OUTAGE | ML POLE 1 OUTAGE | 6/23/2026 0730 | 6/23/2026 1700
ML POLE 2 OUTAGE | ML POLE 2 OUTAGE | 6/24/2026 0730 | 6/24/2026 1700
LIL SOFTWARE DYNAMIC COMMISSIONING | SEE NOTES COLLUMN | 6/25/2026 0730 | 7/4/2026 1700 | [9 empty] | LIL and ML not available for commercial operation.