## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 9/2/2026 10:00:00 AM | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
50W-615 | 50W-615 | 6/22/2026 | 9/8/2026 | [7 empty] | Tusket CT is available for generation
L-7003 | L-7003 | 8/4/2026 | 9/4/2026 | [8 empty] | CBX limited to 915 MW, ONI: 1085 MW
L-6536 | L-6536 | 8/6/2026 | 10/22/2026 | [8 empty] | NS TO NB EXPORT <= 360MW
L-6020 |  | 8/17/2026 | 8/30/2026 | [7 empty] | TK4 must be availble for generation
91H-525 |  | 9/8/2026 | 9/11/2026 | [7 empty] | TC1+TC2 gross output limited between 40 MW and 110 MW
LIL POLE 2 OUTAGE |  | 9/07/2026 | 9/12/2026 | [9 empty] | If ML > 168 MWs then {10 min Reserve Requirement = Flows on ML} Else if ML <= 168 MWs {10min Reserve Requirement = 168MWs}
LIL BIPOLE OUTAGE |  | 9/13/2026 | 9/22/2026 | [9 empty] | If ML > 168 MWs then {10 min Reserve Requirement = Flows on ML} Else if ML <= 168 MWs {10min Reserve Requirement = 168MWs}
ML POLE 1 |  | 9/14/2026 | 9/16/2026
ML POLE 1 |  | 9/17/2026 | 9/20/2026
LIL POLE 1 OUTAGE |  | 9/23/2026 | 9/29/2026 | [9 empty] | If ML > 168 MWs then {10 min Reserve Requirement = Flows on ML} Else if ML <= 168 MWs {10min Reserve Requirement = 168MWs}