## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 9/22/2026 3:30 PM | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
L-6536 | L-6536 | 8/6/2026 | 10/22/2026 | [8 empty] | NS TO NB EXPORT <= 360MW
LIL BIPOLE OUTAGE |  | 9/13/2026 | 9/25/2026 | [9 empty] | If ML > 168 MWs then {10 min Reserve Requirement = Flows on ML} Else if ML <= 168 MWs {10min Reserve Requirement = 168MWs}
NB STOP 26-055-KC |  | 9/20/2026 | 9/29/2026 | [8 empty] | #VALUE!
LIL POLE 1 OUTAGE |  | 9/23/2026 | 9/29/2026 | [9 empty] | If ML > 168 MWs then {10 min Reserve Requirement = Flows on ML} Else if ML <= 168 MWs {10min Reserve Requirement = 168MWs}