## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legend
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 10/8/2026 1:00 PM | Please note all Planned Outages in Green indicates new updates
Transmission Planned Outage Schedule
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
L-6536 | L-6536 | 8/6/2026 | 10/22/2026 | [8 empty] | NS TO NB EXPORT <= 360MW
L-7001 | L-7001 | 9/13/2026 | 10/19/2026 | [7 empty] | ONS limited to 790MW
NB STOP 26-065-BG |  | 10/09/2026 | 10/09/2026 | [8 empty] | #VALUE!
L-6552 | L-6552 | 10/13/2026 | 10/16/2026 | [7 empty] | CBX limited to 990MW, ONI limited to 1275MW
67N-814 | 67N-814 | 10/14/2026 | 10/15/2026 | [8 empty] | NS-NB limited to 105MW, NB-NS limited to 75MW
L-6613 | L-6613 | 10/26/2026 | 10/28/2026 | [8 empty] | Imports from NB = 0 MW NS TO NB Export <= 360
L-8001 | L-8001 | 11/02/2026 | 11/07/2026 | [7 empty] | (NB to NS + NS MSSC) limited to 250 MW, therefore: (NB to NS) + (LG3+LG4) limited to 250 MW (NB to NS) + (TR5+TR6) limited to 300 MW (NB to NS) + ML limited to 250 MW (NS to NB) + (NS Max Load Loss) limited to 220 MW | NB to NS is limited to 100 MW NS to NB is limited to 140 MW NB to (NS+PEI) is limited to 300 MW