## Release Notes
Release Notes 2020-09-17
The objective of the model is to illustrate the net effect on NS Power customer rates of the change in cost and load associated with varying levels of electrification, DSM, and DER deployment.
The hypothesis is that because so much of the Company’s revenue requirement is fixed (approximately 50% due to the long-term nature of the underlying investments), additional revenues provided by the higher levels of sales associated with higher levels of electrification will more than offset the incremental cost to serve the higher load placing downward pressure on the unit cost to serve customers (i.e. rates).
The analysis incorporates the cost and load information developed in the IRP. However because the IRP cost information includes only forward looking supply-side and demand-side costs, it is necessary to:
  Develop an opening bundled service rate for comparison purposes; and
  Recognize the additional fixed cost contribution provided by additional sales from higher levels of electrification.
The Company has taken the following approach:
  We have begun with the forward looking supply-side and demand-side annual revenue requirements developed in the IRP.
  To this we have added the fixed cost amounts currently embedded in customer rates (from the most recent General Rate Application Test Year (2014)).
  The total of the IRP revenue requirement and 2014 foundation produces an estimate of total annual utility revenue requirement for the analysis period.
  To incorporate the additional FCR produced by the additional electrification sales, the Company has applied an FCR/MWh factor from the 2014 Test Year ($80/MWh) and multiplied this by the incremental sales under the various scenarios.
  The net effect of utility revenue requirement less additional FCR recovery provides an estimate of the net revenue requirement to be recovered from customers annually under various levels of electrification.
  A system rate is developed by dividing the total annual revenue requirement by total sales (i.e. net system requirement less losses).
  Annual rate changes are calculated as the change in the rate year-over-year. A simple (i.e. non cumulative) average rate change is created by averaging rate changes over the analysis period.
The analysis employs a number of simplifying assumptions including:
  Electrification and the associated FCR is assumed to occur uniformly across customer classes. To the extent this actually occurs to a greater degree in classes with higher fixed cost recovery (e.g. the residential class), the FCR can be expected to be greater.
  Changes in load from electrification are assumed to affect revenue proportionately (i.e. demand and energy billings increase at the same level).
  This beginning FCR is held constant over the analysis period. Effectively this assumes that the decline in existing rate base due to depreciation is offset by ongoing additions to T&D, General Property and other utility costs not captured in the IRP.
2020 costs are not modeled in IRP but used as a reference year to calculate the first year's rate change; assumed a 1% decline from 2021 modeled costs under Low Electrification to produce the 2020 cost used in all cases

## Relative Rate Impact
IRP Relative Rate Scenarios
Planning Period Year
Electrification Scenario 1 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 868.2561 | 922.6465 | 880.5255 | 893.1895 | 887.361 | 885.1474 | 885.2653 | 888.3591 | 923.5226 | 932.0071 | 910.7452 | 906.0093 | 929.3777 | 959.8739 | 986.689 | 983.5556 | 1019.8825 | 1048.8415 | 1057.9183 | 1129.3165 | 1187.4052 | 1176.787 | 1208.332 | 1211.3336 | 1238.4627
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1668.2561 | 1722.6465 | 1680.5255 | 1693.1895 | 1687.361 | 1685.1474 | 1685.2653 | 1688.3591 | 1723.5226 | 1732.0071 | 1710.7452 | 1706.0093 | 1729.3777 | 1759.8739 | 1786.689 | 1783.5556 | 1819.8825 | 1848.8415 | 1857.9183 | 1929.3165 | 1987.4052 | 1976.787 | 2008.332 | 2011.3336 | 2038.4627
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Revenue Requirement ($M) | 1659.5735 | 1668.2561 | 1722.6465 | 1680.5255 | 1693.1895 | 1687.361 | 1685.1474 | 1685.2653 | 1688.3591 | 1723.5226 | 1732.0071 | 1710.7452 | 1706.0093 | 1729.3777 | 1759.8739 | 1786.689 | 1783.5556 | 1819.8825 | 1848.8415 | 1857.9183 | 1929.3165 | 1987.4052 | 1976.787 | 2008.332 | 2011.3336 | 2038.4627
Load (GWh) | 11314 | 11326.734 | 11301.824 | 11260.0481 | 11242.4268 | 11165.1585 | 11099.8388 | 11044.202 | 11002.4578 | 10924.1454 | 10843.436 | 10809.2439 | 10811.4904 | 10786.0963 | 10799.5042 | 10816.418 | 10859.8216 | 10872.7 | 10904.4713 | 10944.1945 | 10987.1818 | 11003.2027 | 11052.9788 | 11104.0472 | 11149.4728 | 11216.4524 | 2.0C - Low Elec / Base DSM
Losses (6.7%) | 758.038 | 758.8912 | 757.2222 | 754.4232 | 753.2426 | 748.0656 | 743.6892 | 739.9615 | 737.1647 | 731.9177 | 726.5102 | 724.2193 | 724.3699 | 722.6684 | 723.5668 | 724.7 | 727.608 | 728.4709 | 730.5996 | 733.261 | 736.1412 | 737.2146 | 740.5496 | 743.9712 | 747.0147 | 751.5023
Sales | 10555.962 | 10567.8428 | 10544.6018 | 10505.6249 | 10489.1842 | 10417.0929 | 10356.1496 | 10304.2404 | 10265.2931 | 10192.2277 | 10116.9258 | 10085.0246 | 10087.1205 | 10063.4278 | 10075.9374 | 10091.718 | 10132.2135 | 10144.2291 | 10173.8717 | 10210.9334 | 10251.0406 | 10265.9881 | 10312.4292 | 10360.076 | 10402.4581 | 10464.9501
Rate (cents/kWh) | 15.7217 | 15.7862 | 16.3368 | 15.9964 | 16.1422 | 16.198 | 16.2719 | 16.3551 | 16.4473 | 16.9102 | 17.1199 | 16.9632 | 16.9127 | 17.1848 | 17.4661 | 17.7045 | 17.6028 | 17.9401 | 18.1724 | 18.1954 | 18.8207 | 19.3591 | 19.169 | 19.3853 | 19.3352 | 19.479 | 2.0C - Low Elec / Base DSM 2040 Coal
Annual Rate Change |  | 0.4102% | 3.488% | -2.083% | 0.9115% | 0.3454% | 0.4565% | 0.5108% | 0.5637% | 2.815% | 1.24% | -0.9151% | -0.2976% | 1.608% | 1.637% | 1.365% | -0.5743% | 1.916% | 1.295% | 0.1262% | 3.437% | 2.861% | -0.9822% | 1.129% | -0.2586% | 0.7436%
[26 empty] | 0.8699% | Average Rate Change 2021-2045
[26 empty] | 0.8658% | Average Rate Change 2021-2030
Planning Period Year
Electrification Scenario 2 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 865.7356 | 924.5819 | 886.0859 | 910.3625 | 918.0135 | 930.3314 | 949.7065 | 955.8419 | 993.6406 | 1008.5955 | 991.7843 | 1016.7253 | 1034.1636 | 1071.6096 | 1099.3798 | 1113.6697 | 1124.9376 | 1163.5297 | 1198.5749 | 1281.3215 | 1344.048 | 1331.6306 | 1374.6218 | 1384.4868 | 1426.2751
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1665.7356 | 1724.5819 | 1686.0859 | 1710.3625 | 1718.0135 | 1730.3314 | 1749.7065 | 1755.8419 | 1793.6406 | 1808.5955 | 1791.7843 | 1816.7253 | 1834.1636 | 1871.6096 | 1899.3798 | 1913.6697 | 1924.9376 | 1963.5297 | 1998.5749 | 2081.3215 | 2144.048 | 2131.6306 | 2174.6218 | 2184.4868 | 2226.2751
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | 10.1341 | 28.4471 | 71.7072 | 133.0915 | 203.257 | 261.9728 | 319.7938 | 375.4508 | 424.9051 | 471.5712 | 516.835 | 561.8644 | 607.9812 | 652.8723 | 700.1994 | 750.0481 | 799.4335 | 847.1337 | 892.9277 | 935.0947 | 970.1869 | 1000.6381 | 1026.7896 | 1048.8548 | 1066.9948
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | 0.81073 | 2.2758 | 5.7366 | 10.6473 | 16.2606 | 20.9578 | 25.5835 | 30.0361 | 33.9924 | 37.7257 | 41.3468 | 44.9492 | 48.6385 | 52.2298 | 56.016 | 60.0038 | 63.9547 | 67.7707 | 71.4342 | 74.8076 | 77.615 | 80.051 | 82.1432 | 83.9084 | 85.3596
Net Revenue Requirement ($M) | 1659.5735 | 1664.9249 | 1722.3062 | 1680.3493 | 1699.7152 | 1701.7529 | 1709.3736 | 1724.123 | 1725.8059 | 1759.6482 | 1770.8698 | 1750.4375 | 1771.7762 | 1785.5251 | 1819.3798 | 1843.3638 | 1853.6659 | 1860.9829 | 1895.759 | 1927.1407 | 2006.514 | 2066.433 | 2051.5795 | 2092.4787 | 2100.5784 | 2140.9155
Load (GWh) | 11314 | 11337.5958 | 11332.3139 | 11336.9047 | 11385.0758 | 11383.0116 | 11380.6242 | 11386.9606 | 11404.8703 | 11379.5635 | 11348.8714 | 11363.1935 | 11413.703 | 11437.7374 | 11499.2601 | 11566.8996 | 11663.7317 | 11729.542 | 11812.4388 | 11901.2445 | 11989.4269 | 12043.0601 | 12125.4741 | 12204.5719 | 12273.6473 | 12360.0696 | 2.1C - Mid Elec / Base DSM
Losses (7%) | 758.038 | 759.6189 | 759.265 | 759.5726 | 762.8001 | 762.6618 | 762.5018 | 762.9264 | 764.1263 | 762.4308 | 760.3744 | 761.334 | 764.7181 | 766.3284 | 770.4504 | 774.9823 | 781.47 | 785.8793 | 791.4334 | 797.3834 | 803.2916 | 806.885 | 812.4068 | 817.7063 | 822.3344 | 828.1247
Sales | 10555.962 | 10577.9769 | 10573.0489 | 10577.3321 | 10622.2757 | 10620.3498 | 10618.1224 | 10624.0343 | 10640.7439 | 10617.1327 | 10588.497 | 10601.8596 | 10648.9849 | 10671.409 | 10728.8097 | 10791.9173 | 10882.2616 | 10943.6627 | 11021.0054 | 11103.8611 | 11186.1353 | 11236.1751 | 11313.0673 | 11386.8656 | 11451.3129 | 11531.9449
Rate (cents/kWh) | 15.7217 | 15.7395 | 16.2896 | 15.8863 | 16.0014 | 16.0235 | 16.0986 | 16.2285 | 16.2188 | 16.5737 | 16.7245 | 16.5107 | 16.638 | 16.7319 | 16.9579 | 17.081 | 17.0338 | 17.0051 | 17.2013 | 17.3556 | 17.9375 | 18.3909 | 18.1346 | 18.3762 | 18.3436 | 18.5651 | 2.1C - Mid Elec / Base DSM 2040 Coal
Annual Rate Change |  | 0.1137% | 3.495% | -2.476% | 0.7245% | 0.138% | 0.4689% | 0.8067% | -0.05958% | 2.188% | 0.9099% | -1.278% | 0.7711% | 0.5642% | 1.351% | 0.7258% | -0.276% | -0.1685% | 1.154% | 0.8968% | 3.353% | 2.528% | -1.394% | 1.333% | -0.1779% | 1.208%
[26 empty] | 0.6759% | Average Rate Change
[26 empty] | 0.6309% | Average Rate Change 2021-2030
Planning Period Year
Electrification Scenario 3 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 990.4941 | 1060.5059 | 1046.094 | 1055.2599 | 1069.841 | 1084.7562 | 1104.365 | 1115.0703 | 1148.8905 | 1171.4723 | 1160.8256 | 1162.9603 | 1200.9982 | 1235.0323 | 1277.6218 | 1298.9085 | 1352.4188 | 1404.9859 | 1434.9869 | 1540.7958 | 1604.0888 | 1604.9421 | 1646.105 | 1676.5019 | 1715.649
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1790.4941 | 1860.5059 | 1846.094 | 1855.2599 | 1869.841 | 1884.7562 | 1904.365 | 1915.0703 | 1948.8905 | 1971.4723 | 1960.8256 | 1962.9603 | 2000.9982 | 2035.0323 | 2077.6218 | 2098.9085 | 2152.4188 | 2204.9859 | 2234.9869 | 2340.7958 | 2404.0888 | 2404.9421 | 2446.105 | 2476.5019 | 2515.649
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | 20.2682 | 84.4862 | 101.7905 | 166.3405 | 260.6101 | 328.6629 | 403.6243 | 477.824 | 559.2493 | 640.4217 | 728.4002 | 816.0508 | 917.8606 | 1024.7732 | 1135.8965 | 1248.1154 | 1360.2418 | 1464.5499 | 1572.0765 | 1662.4879 | 1741.5343 | 1815.1901 | 1878.241 | 1929.1195 | 1974.0974
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | 1.6215 | 6.7589 | 8.1432 | 13.3072 | 20.8488 | 26.293 | 32.2899 | 38.2259 | 44.7399 | 51.2337 | 58.272 | 65.2841 | 73.4289 | 81.9819 | 90.8717 | 99.8492 | 108.8193 | 117.164 | 125.7661 | 132.999 | 139.3227 | 145.2152 | 150.2593 | 154.3296 | 157.9278
Net Revenue Requirement ($M) | 1659.5735 | 1788.8726 | 1853.747 | 1837.9508 | 1841.9526 | 1848.9922 | 1858.4632 | 1872.0751 | 1876.8443 | 1904.1505 | 1920.2386 | 1902.5536 | 1897.6762 | 1927.5693 | 1953.0505 | 1986.7501 | 1999.0593 | 2043.5995 | 2087.8219 | 2109.2208 | 2207.7968 | 2264.7661 | 2259.7269 | 2295.8457 | 2322.1723 | 2357.7212
Load (GWh) | 11314 | 11348.4576 | 11392.3773 | 11369.1483 | 11420.7124 | 11444.4834 | 11452.1035 | 11476.811 | 11514.595 | 11523.5552 | 11529.8473 | 11589.9515 | 11686.1429 | 11769.8697 | 11897.8678 | 12033.8847 | 12197.5658 | 12330.6226 | 12474.1925 | 12629.164 | 12769.0552 | 12869.7989 | 12998.5202 | 13117.1673 | 13217.125 | 13332.3124 | 2.2C - High Elec / Max DSM
Losses (7%) | 758.038 | 760.3467 | 763.2893 | 761.7329 | 765.1877 | 766.7804 | 767.2909 | 768.9463 | 771.4779 | 772.0782 | 772.4998 | 776.5268 | 782.9716 | 788.5813 | 797.1571 | 806.2703 | 817.2369 | 826.1517 | 835.7709 | 846.154 | 855.5267 | 862.2765 | 870.9009 | 878.8502 | 885.5474 | 893.2649
Sales | 10555.962 | 10588.111 | 10629.0881 | 10607.4154 | 10655.5246 | 10677.703 | 10684.8125 | 10707.8647 | 10743.1171 | 10751.477 | 10757.3475 | 10813.4247 | 10903.1714 | 10981.2884 | 11100.7107 | 11227.6145 | 11380.3289 | 11504.4709 | 11638.4216 | 11783.01 | 11913.5285 | 12007.5224 | 12127.6194 | 12238.317 | 12331.5776 | 12439.0475
Rate (cents/kWh) | 15.7217 | 16.8951 | 17.4403 | 17.327 | 17.2864 | 17.3164 | 17.3935 | 17.4832 | 17.4702 | 17.7106 | 17.8505 | 17.5944 | 17.4048 | 17.5532 | 17.5939 | 17.6952 | 17.5659 | 17.7635 | 17.939 | 17.9005 | 18.5318 | 18.8612 | 18.6329 | 18.7595 | 18.8311 | 18.9542 | 2.2C - High Elec / Max DSM 2040 Coal
Annual Rate Change |  | 7.464% | 3.227% | -0.6495% | -0.2347% | 0.1737% | 0.4453% | 0.5156% | -0.07422% | 1.376% | 0.7899% | -1.435% | -1.077% | 0.8527% | 0.2319% | 0.5757% | -0.7307% | 1.125% | 0.9881% | -0.2147% | 3.527% | 1.777% | -1.211% | 0.6794% | 0.3818% | 0.6536%
[26 empty] | 0.7663% | Average Rate Change
[26 empty] | 1.303% | Average Rate Change 2021-2030
Planning Period Year
Electrification Scenario 4 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 865.5148 | 923.7291 | 909.6067 | 904.1983 | 910.8228 | 906.048 | 910.4656 | 916.7918 | 944.5433 | 958.3046 | 927.7546 | 916.9944 | 952.1932 | 981.0392 | 991.5716 | 989.1406 | 1036.9563 | 1057.2965 | 1097.2551 | 1174.2047 | 1214.7234 | 1219.417 | 1248.6002 | 1252.7282 | 1262.2409
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1665.5148 | 1723.7291 | 1709.6067 | 1704.1983 | 1710.8228 | 1706.048 | 1710.4656 | 1716.7918 | 1744.5433 | 1758.3046 | 1727.7546 | 1716.9944 | 1752.1932 | 1781.0392 | 1791.5716 | 1789.1406 | 1836.9563 | 1857.2965 | 1897.2551 | 1974.2047 | 2014.7234 | 2019.417 | 2048.6002 | 2052.7282 | 2062.2409
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | -59.1328 | -67.178 | -52.7279 | -47.1249 | -56.647 | -114.4398 | -170.0251 | -261.9418 | -404.5225 | -570.4965 | -588.5015 | -599.3791 | -611.9458 | -616.3573 | -620.3098 | -610.4669 | -602.2651 | -582.876 | -565.94 | -553.2199 | -548.1689 | -548.3654 | -553.4802 | -563.3123 | -577.7135
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | -4.7306 | -5.3742 | -4.2182 | -3.77 | -4.5318 | -9.1552 | -13.602 | -20.9553 | -32.3618 | -45.6397 | -47.0801 | -47.9503 | -48.9557 | -49.3086 | -49.6248 | -48.8374 | -48.1812 | -46.6301 | -45.2752 | -44.2576 | -43.8535 | -43.8692 | -44.2784 | -45.065 | -46.2171
Net Revenue Requirement ($M) | 1659.5735 | 1670.2454 | 1729.1034 | 1713.8249 | 1707.9683 | 1715.3545 | 1715.2032 | 1724.0676 | 1737.7471 | 1776.9051 | 1803.9444 | 1774.8347 | 1764.9448 | 1801.1488 | 1830.3478 | 1841.1964 | 1837.9779 | 1885.1375 | 1903.9266 | 1942.5303 | 2018.4623 | 2058.5769 | 2063.2862 | 2092.8786 | 2097.7932 | 2108.458
Load (GWh) | 11314 | 11263.3548 | 11229.8219 | 11203.5337 | 11191.9178 | 11104.4436 | 10977.1809 | 10861.9671 | 10721.7056 | 10490.5736 | 10231.9714 | 10178.4813 | 10169.069 | 10130.2057 | 10138.8855 | 10151.5628 | 10205.5163 | 10227.1855 | 10279.7382 | 10337.6136 | 10394.2345 | 10415.6691 | 10465.2345 | 10510.8208 | 10545.7082 | 10597.2525 | 2.1B - Mid Elec / Base DSM w/ DER
Losses (7%) | 758.038 | 754.6448 | 752.3981 | 750.6368 | 749.8585 | 743.9977 | 735.4711 | 727.7518 | 718.3543 | 702.8684 | 685.5421 | 681.9582 | 681.3276 | 678.7238 | 679.3053 | 680.1547 | 683.7696 | 685.2214 | 688.7425 | 692.6201 | 696.4137 | 697.8498 | 701.1707 | 704.225 | 706.5625 | 710.0159
Sales | 10555.962 | 10508.71 | 10477.4238 | 10452.8969 | 10442.0593 | 10360.4459 | 10241.7098 | 10134.2153 | 10003.3513 | 9787.7051 | 9546.4293 | 9496.5231 | 9487.7414 | 9451.482 | 9459.5801 | 9471.4081 | 9521.7467 | 9541.9641 | 9590.9957 | 9644.9935 | 9697.8207 | 9717.8192 | 9764.0638 | 9806.5958 | 9839.1458 | 9887.2366
Rate (cents/kWh) | 15.7217 | 15.8939 | 16.5031 | 16.3957 | 16.3566 | 16.5568 | 16.7472 | 17.0123 | 17.3716 | 18.1545 | 18.8965 | 18.6893 | 18.6024 | 19.0568 | 19.3491 | 19.4395 | 19.3029 | 19.7563 | 19.8512 | 20.1403 | 20.8136 | 21.1835 | 21.1314 | 21.3415 | 21.3209 | 21.325 | 2.1B - Mid Elec / Base DSM w/ DER 2040 Coal
Annual Rate Change |  | 1.096% | 3.833% | -0.651% | -0.2383% | 1.224% | 1.15% | 1.583% | 2.112% | 4.506% | 4.088% | -1.097% | -0.4652% | 2.443% | 1.534% | 0.4671% | -0.7025% | 2.349% | 0.4804% | 1.456% | 3.343% | 1.778% | -0.2459% | 0.9943% | -0.09677% | 0.01951%
[26 empty] | 1.238% | Average Rate Change
[26 empty] | 1.87% | Average Rate Change 2021-2030
Planning Period Year
Electrification Scenario 5 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 868.439 | 925.5117 | 886.0737 | 909.3306 | 940.7858 | 933.6685 | 948.2832 | 968.7595 | 1082.6434 | 1139.0011 | 1128.0816 | 1125.3738 | 1155.8522 | 1181.2283 | 1195.4111 | 1219.6846 | 1231.545 | 1260.6457 | 1292.4157 | 1301.0392 | 1344.4615 | 1348.9742 | 1389.4849 | 1427.4963 | 1441.2978
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1668.439 | 1725.5117 | 1686.0737 | 1709.3306 | 1740.7858 | 1733.6685 | 1748.2832 | 1768.7595 | 1882.6434 | 1939.0011 | 1928.0816 | 1925.3738 | 1955.8522 | 1981.2283 | 1995.4111 | 2019.6846 | 2031.545 | 2060.6457 | 2092.4157 | 2101.0392 | 2144.4615 | 2148.9742 | 2189.4849 | 2227.4963 | 2241.2978
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | 10.1341 | 28.4471 | 71.7072 | 133.0915 | 203.257 | 261.9728 | 319.7938 | 375.4508 | 424.9051 | 471.5712 | 516.835 | 561.8644 | 607.9812 | 652.8723 | 700.1994 | 750.0481 | 799.4335 | 847.1337 | 892.9277 | 935.0947 | 970.1869 | 1000.6381 | 1026.7896 | 1048.8548 | 1066.9948
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | 0.81073 | 2.2758 | 5.7366 | 10.6473 | 16.2606 | 20.9578 | 25.5835 | 30.0361 | 33.9924 | 37.7257 | 41.3468 | 44.9492 | 48.6385 | 52.2298 | 56.016 | 60.0038 | 63.9547 | 67.7707 | 71.4342 | 74.8076 | 77.615 | 80.051 | 82.1432 | 83.9084 | 85.3596
Net Revenue Requirement ($M) | 1659.5735 | 1667.6283 | 1723.236 | 1680.3371 | 1698.6833 | 1724.5253 | 1712.7107 | 1722.6997 | 1738.7234 | 1848.651 | 1901.2754 | 1886.7348 | 1880.4247 | 1907.2137 | 1928.9985 | 1939.3951 | 1959.6807 | 1967.5903 | 1992.875 | 2020.9815 | 2026.2316 | 2066.8465 | 2068.9232 | 2107.3417 | 2143.5879 | 2155.9382
Load (GWh) | 11314 | 11337.5958 | 11332.3139 | 11336.9047 | 11385.0758 | 11383.0116 | 11380.6242 | 11386.9606 | 11404.8703 | 11379.5635 | 11348.8714 | 11363.1935 | 11413.703 | 11437.7374 | 11499.2601 | 11566.8996 | 11663.7317 | 11729.542 | 11812.4388 | 11901.2445 | 11989.4269 | 12043.0601 | 12125.4741 | 12204.5719 | 12273.6473 | 12360.0696 | 3.1C - Mid Elec / Base DSM
Losses (7%) | 758.038 | 759.6189 | 759.265 | 759.5726 | 762.8001 | 762.6618 | 762.5018 | 762.9264 | 764.1263 | 762.4308 | 760.3744 | 761.334 | 764.7181 | 766.3284 | 770.4504 | 774.9823 | 781.47 | 785.8793 | 791.4334 | 797.3834 | 803.2916 | 806.885 | 812.4068 | 817.7063 | 822.3344 | 828.1247
Sales | 10555.962 | 10577.9769 | 10573.0489 | 10577.3321 | 10622.2757 | 10620.3498 | 10618.1224 | 10624.0343 | 10640.7439 | 10617.1327 | 10588.497 | 10601.8596 | 10648.9849 | 10671.409 | 10728.8097 | 10791.9173 | 10882.2616 | 10943.6627 | 11021.0054 | 11103.8611 | 11186.1353 | 11236.1751 | 11313.0673 | 11386.8656 | 11451.3129 | 11531.9449
Rate (cents/kWh) | 15.7217 | 15.7651 | 16.2984 | 15.8862 | 15.9917 | 16.2379 | 16.1301 | 16.2151 | 16.3402 | 17.412 | 17.956 | 17.7963 | 17.6583 | 17.8722 | 17.9796 | 17.9708 | 18.008 | 17.9793 | 18.0825 | 18.2007 | 18.1138 | 18.3946 | 18.2879 | 18.5068 | 18.7191 | 18.6954 | 3.1C - Mid Elec / Base DSM 2030 Coal
Annual Rate Change |  | 0.2762% | 3.383% | -2.529% | 0.6641% | 1.54% | -0.6643% | 0.5273% | 0.7717% | 6.559% | 3.125% | -0.8899% | -0.7755% | 1.211% | 0.6011% | -0.04895% | 0.2071% | -0.1597% | 0.5743% | 0.6536% | -0.4776% | 1.55% | -0.5799% | 1.197% | 1.148% | -0.1271%
[26 empty] | 0.7094% | Average Rate Change
[26 empty] | 1.365% | Average Rate Change 2021-2030
Planning Period Year
Electrification Scenario 6 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
IRP Revenue Requirement (Partial) ($M) | 859.5735 | 915.5323 | 979.3429 | 972.257 | 987.479 | 1052.3953 | 1058.8748 | 1088.8799 | 1106.0312 | 1160.8341 | 1141.5302 | 1123.3693 | 1126.5279 | 1165.8839 | 1212.2244 | 1255.0969 | 1261.5233 | 1327.4546 | 1376.3952 | 1420.9776 | 1517.3487 | 1587.155 | 1578.2453 | 1620.139 | 1647.9917 | 1684.6885
2014 Non-fuel revenue requirement ($M) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Total Revenue Requirement Pre-incremental FCR recovery ($M) | 1659.5735 | 1715.5323 | 1779.3429 | 1772.257 | 1787.479 | 1852.3953 | 1858.8748 | 1888.8799 | 1906.0312 | 1960.8341 | 1941.5302 | 1923.3693 | 1926.5279 | 1965.8839 | 2012.2244 | 2055.0969 | 2061.5233 | 2127.4546 | 2176.3952 | 2220.9776 | 2317.3487 | 2387.155 | 2378.2453 | 2420.139 | 2447.9917 | 2484.6885
Incremental FCR-Base
Cumulative Incremental Sales (GWh) | 0 | 20.2682 | 84.4862 | 161.9096 | 279.8165 | 413.1072 | 514.6563 | 615.6133 | 710.6931 | 799.3474 | 884.1057 | 969.9545 | 1055.9625 | 1150.7098 | 1251.4714 | 1357.3951 | 1466.7332 | 1573.1484 | 1675.104 | 1775.8764 | 1866.1505 | 1943.3723 | 2011.8428 | 2071.3505 | 2121.771 | 2165.2235
Incremental FCR $/MWh | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Incremental FCR ($M) | 0 | 1.6215 | 6.7589 | 12.9528 | 22.3853 | 33.0486 | 41.1725 | 49.2491 | 56.8554 | 63.9478 | 70.7285 | 77.5964 | 84.477 | 92.0568 | 100.1177 | 108.5916 | 117.3387 | 125.8519 | 134.0083 | 142.0701 | 149.292 | 155.4698 | 160.9474 | 165.708 | 169.7417 | 173.2179
Net Revenue Requirement ($M) | 1659.5735 | 1713.9108 | 1772.584 | 1759.3043 | 1765.0937 | 1819.3467 | 1817.7023 | 1839.6308 | 1849.1758 | 1896.8863 | 1870.8018 | 1845.7729 | 1842.0509 | 1873.8271 | 1912.1067 | 1946.5053 | 1944.1846 | 2001.6028 | 2042.3868 | 2078.9075 | 2168.0567 | 2231.6852 | 2217.2979 | 2254.431 | 2278.25 | 2311.4706
Load (GWh) | 11314 | 11348.4576 | 11392.3773 | 11433.5847 | 11542.3373 | 11607.9314 | 11651.4533 | 11704.0233 | 11764.1867 | 11780.895 | 11791.0306 | 11848.8522 | 11943.283 | 12019.4401 | 12140.8455 | 12271.2895 | 12431.8829 | 12558.8183 | 12699.8667 | 12847.599 | 12987.3431 | 13086.1313 | 13209.2948 | 13324.1442 | 13423.6111 | 13537.1636 | 2.2C.S1 - High Elec / Mid DSM
Losses (7%) | 758.038 | 760.3467 | 763.2893 | 766.0502 | 773.3366 | 777.7314 | 780.6474 | 784.1696 | 788.2005 | 789.32 | 789.9991 | 793.8731 | 800.2 | 805.3025 | 813.4366 | 822.1764 | 832.9362 | 841.4408 | 850.8911 | 860.7891 | 870.152 | 876.7708 | 885.0228 | 892.7177 | 899.3819 | 906.99
Sales | 10555.962 | 10588.111 | 10629.0881 | 10667.5345 | 10769.0007 | 10830.2 | 10870.8059 | 10919.8538 | 10975.9862 | 10991.5751 | 11001.0316 | 11054.9791 | 11143.083 | 11214.1376 | 11327.4088 | 11449.1131 | 11598.9468 | 11717.3775 | 11848.9757 | 11986.8098 | 12117.1912 | 12209.3605 | 12324.2721 | 12431.4265 | 12524.2292 | 12630.1736
Rate (cents/kWh) | 15.7217 | 16.1871 | 16.6767 | 16.4921 | 16.3905 | 16.7988 | 16.721 | 16.8467 | 16.8475 | 17.2576 | 17.0057 | 16.6963 | 16.5309 | 16.7095 | 16.8804 | 17.0014 | 16.7617 | 17.0823 | 17.2368 | 17.3433 | 17.8924 | 18.2785 | 17.9913 | 18.1349 | 18.1907 | 18.3012 | 2.2C.S1 - High Elec / Mid DSM 2040 Coal
Annual Rate Change |  | 2.961% | 3.025% | -1.107% | -0.6162% | 2.491% | -0.4636% | 0.7518% | 0.004786% | 2.435% | -1.46% | -1.819% | -0.9907% | 1.081% | 1.022% | 0.7169% | -1.409% | 1.913% | 0.9043% | 0.6177% | 3.166% | 2.158% | -1.571% | 0.7983% | 0.3077% | 0.6071%
[26 empty] | 0.6209% | Average Rate Change
[26 empty] | 0.8021% | Average Rate Change 2021-2030